## TAGS
CLASS | TAG_NAME | TAG_PATTERN | DESCRIPTION | TEMPLATE | FOLDER | GROUP | TYPE | FORMAT | DEVICE | IO | ADDRESS | INITIAL_VALUE
BASE | LT_001 |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 | DO | BOOL | RM1 | 1
BASE | LT_002 |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 | DI | BOOL | RM1 | CLAS
BASE | LT_003 |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 | AI | FLOAT | RM1 | 3
BASE | LT_004 |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 | AI | UINT8 | RM1
BASE | LT_005 |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 | AI | INT16 | RM1
BASE | LT_006 |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 | AI | UINT16 | RM1
BASE | LT_007 |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 | AI | INT32 | RM1
BASE | LT_008 |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 | AI | UINT32 | RM1
BASE | LT_009 |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 | AO | FLOAT | RM1
GENERATE |  | C11_PRIMARY* | PRIMARY * | COMS | COMMUNICATION | COMMUNICATION
CLONE |  | .+\d.+ | .+\d.+ |  | CHAMBER 2 | CHAMBER 2 |  |  | .+\d.+
IGNORE |  | PC_150* | CHAMBER 1 R/O WATER FILL * | HOA | CHAMBER 1\LOCALS | CHAMBER 1
IGNORE |  | PC114* | CHAMBER 1 NUTRIENT 1 * | SP | CHAMBER 1\LOCALS | CHAMBER 1
GENERATE |  | PC_233* | CHAMBER 2 NUTRIENT 1 * | OCA | CHAMBER 1\LOCALS | CHAMBER 1
GENERATE |  | PC_200* | PID * | PIC | CHAMBER 2\LOCALS | CHAMBER 2
GENERATE |  | HS_166* | CHAMBER 1 TEMPERATURE * | PIC | CHAMBER 2\LOCALS | CHAMBER 2
GENERATE |  | KX_126* | CHAMBER 1A CO2 * | TIME | CHAMBER 1\LOCALS | CHAMBER 1
GENERATE |  | PC_2332* | CHAMBER 1 * | PERM | CHAMBER 1\LOCALS | CHAMBER 1
GENERATE |  | ALW_DD* | phD * | GLOBALS | GLOBALS | GLOBALS

## MEMORY_MAP
GROUP | FORMAT | START_ADDRESS | LENGTH | TAG_LOOP_NUMBER | TS_FORMAT | TS_SIGNED
GLOBALS | FLOAT | 100 | 50 | 0 | FLOAT | TRUE
GLOBALS | UINT8 | 200 | 50 | 0 | BYTE | FALSE
GLOBALS | INT16 | 250 | 50 | 0 | 16BITS | TRUE
GLOBALS | UINT16 | 300 | 50 | 0 | 16BITS | FALSE
GLOBALS | INT32 | 350 | 50 | 0 | 32BITS | TRUE
GLOBALS | UINT32 | 450 | 50 | 0 | 32BITS | FALSE
GLOBALS | BOOL | 500 | 50 | 0 | DIGITAL | FALSE
COMMUNICATION | BOOL | 550 | 20 | 0 | DIGITAL | FALSE
COMMUNICATION | UINT16 | 570 | 20 | 0 | 16BITS | FALSE
CHAMBER 1 | FLOAT | 1000 | 100 | 1 | FLOAT | TRUE
CHAMBER 1 | UINT8 | 1200 | 100 | 1 | BYTE | FALSE
CHAMBER 1 | INT16 | 1300 | 100 | 1 | 16BITS | TRUE
CHAMBER 1 | UINT16 | 1400 | 100 | 1 | 16BITS | FALSE
CHAMBER 1 | INT32 | 1500 | 100 | 1 | 32BITS | TRUE
CHAMBER 1 | UINT32 | 1700 | 100 | 1 | 32BITS | FALSE
CHAMBER 1 | BOOL | 1900 | 100 | 1 | DIGITAL | FALSE
CHAMBER 2 | FLOAT | 2000 | 100 | 2 | FLOAT | TRUE
CHAMBER 2 | UINT8 | 2200 | 100 | 2 | BYTE | FALSE
CHAMBER 2 | INT16 | 2300 | 100 | 2 | 16BITS | TRUE
CHAMBER 2 | UINT16 | 2400 | 100 | 2 | 16BITS | FALSE
CHAMBER 2 | INT32 | 2500 | 100 | 2 | 32BITS | TRUE
CHAMBER 2 | UINT32 | 2700 | 100 | 2 | 32BITS | FALSE
CHAMBER 2 | BOOL | 2900 | 100 | 2 | DIGITAL | FALSE

## TEMPLATE
TEMPLATE | SUFFIX | DESCRIPTION | TYPE | INITIAL_VALUE | SCRIPT_VALYE
COMS | _CC | COMMUNICATION CYCLE COUNT | UINT16 | -9999 | -9999
COMS | _ST | COMMUNICATION STATUS | UINT16 | -9999 | -9999
COMS | _CT | COMMUNICATION TRIGGER | BOOL | -9999 | -9999
COMS | _CE | COMMUNICATION ERROR | BOOL | -9999 | -9999
HOA | HOA | HOA STATE (H=1,A=2,O=0) | UINT16 | -9999 | -9999
HOA | _H | HAND | BOOL | -9999 | -9999
HOA | _O | OFF | BOOL | -9999 | -9999
HOA | _A | AUTO | BOOL | -9999 | -9999
OCA | _OCA | OCA STATE (C=1,A=2,O=0) | UINT16 | -9999 | -9999
OCA | _O | OPEN | BOOL | -9999 | -9999
OCA | _C | CLOSED | BOOL | -9999 | -9999
OCA | _A | AUTO | BOOL | -9999 | -9999
SPF | _SP | SETPOINT | FLOAT | -9999 | -9999
SP | _SP | SETPOINT | UINT16 | -9999 | -9999
PIC | _1 | DESC 1 | UINT16 | 10 | -9999
PIC | _2 | DESC 2 | UINT16 | 20 | -9999
PIC | _3 | DESC 3 | UINT16 | 30 | -9999
PIC | _4 | DESC 4 | UINT16 | 40 | -9999
PIC | _5 | DESC 5 | UINT16 | 50 | -9999
PIC | _6 | DESC 6 | UINT16 | 60 | -9999
PIC | _7 | DESC 7 | UINT16 | 70 | -9999
PIC | _8 | DESC 8 | UINT16 | 80 | -9999
PIC | _B1 | DESC BOOL1 | BOOL | -9999 | -9999
PIC | _B2 | DESC BOOL2 | BOOL | -9999 | -9999
PIC | _B3 | DESC BOOL3 | BOOL | -9999 | -9999
PIC | _B4 | DESC BOOL4 | BOOL | -9999 | -9999
PIC | _B5 | DESC BOOL5 | BOOL | -9999 | -9999
TIME | _OFAP | OFF AM/PM (1=PM) | UINT16 | -9999 | 1
TIME | _OFH | OFF HR | UINT16 | -9999 | 16
TIME | _OFM | OFF MIN | UINT16 | -9999 | 16
TIME | _ONAP | ON AM/PM (1=PM) | UINT16 | -9999 | 0
TIME | _ONH | ON HR | UINT16 | -9999 | 7
TIME | _ONM | ON MIN | UINT16 | -9999 | 0
PERM | _PERM | PERMISSIVE | BOOL | -9999 | -9999
GLOBALS | _KKK | TEST KKK | INT16 | -9999 | -9999
GLOBALS | _KLM | TEST KLM | FLOAT | -9999 | -9999
GLOBALS | _FLT | DICOMMENT1234567890123456789012345678901234567 | INT32 | -9999 | -9999
GLOBALS | _FLT2 | TEST FLT | FLOAT | -9999 | -9999
GLOBALS | _FLT4 | TEST FLT | UINT32 | -9999 | -9999
GLOBALS | _FLT23 | TEST FLT | UINT32 | -9999 | -9999
GLOBALS | _FLT21 | TEST FLT Hello world | FLOAT | -9999 | -9999

## Use Cases
ID | DESCRIPTION
1 | Create soft tag
s