## TAGS
CLASS | TAG_NAME | TAG_TYPE | TAG_PATTERN | DESCRIPTION | TEMPLATE | TS_GROUP | MEM_ID | ADDRESS | TAG_INITIAL_VALUE
BASE | LS_001 | BOOL |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 |  | -9999
BASE | LT_002 | FLOAT |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 |  | -9999
BASE | LT_003 | FLOAT |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 |  | -9999
BASE | LT_004 | FLOAT |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 |  | -9999
BASE | LT_005 | FLOAT |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 |  | -9999
BASE | LT_006 | FLOAT |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 |  | -9999
BASE | LT_007 | FLOAT |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 |  | -9999
BASE | LT_008 | FLOAT |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 |  | -9999
BASE | LT_009 | FLOAT |  | GC 1 LEVEL TRANSMITTER |  | CHAMBER 1 | CHAMBER 1 |  | -9999
GENERATE |  |  | C11_PRIMARY* | PRIMARY * | COMS | COMMUNICATION | COMMUNICATION
IGNORE |  |  | PC_150* | CHAMBER 1 R/O WATER FILL * | HOA | CHAMBER 1\SOFTS | CHAMBER 1\SOFTS
IGNORE |  |  | PC114* | CHAMBER 1 NUTRIENT 1 * | SP | CHAMBER 1\SOFTS | CHAMBER 1\SOFTS
IGNORE |  |  | PC_233* | CHAMBER 2 NUTRIENT 1 * | OCA | CHAMBER 1\SOFTS | CHAMBER 1\SOFTS
GENERATE |  |  | HS_166* | CHAMBER 1 TEMPERATURE * | PIC | CHAMBER 2\SOFTS | CHAMBER 2\SOFTS
IGNORE |  |  | KX_166* | CHAMBER 1A CO2 * | TIME | CHAMBER 1\SOFTS | CHAMBER 1\SOFTS
IGNORE |  |  | PC_2332* | CHAMBER 1 * | PERM | CHAMBER 1\SOFTS | CHAMBER 1\SOFTS
IGNORE |  |  | GBL* | * | GLOBALS | GLOBALS | GLOBALS
IGNORE |  |  | RM2_1* | RM2 CHAMBER 1 * | RM2_530 | CHAMBER 1 | CHAMBER 1
IGNORE |  |  | K100* | CHAMBER 1 SPRAY * | TIMER | CHAMBER 1\SOFTS | CHAMBER 1\SOFTS
IGNORE |  |  | RM2_1A* | RM2 CHAMBER 1A * | RM2_530 | CHAMBER 1 | CHAMBER 1
IGNORE |  |  | C111* | TANK 1 * | PH_EC | CHAMBER 1\SOFTS | CHAMBER 1\SOFTS
IGNORE |  |  | LT_THORPE* | PJC * | COMS | COMMUNICATION | COMMUNICATION
GENERATE |  |  | CA11* | TANK 1 * | PH_EC | CHAMBER 1\SOFTS | CHAMBER 1\SOFTS
IGNORE |  |  | CA11A* | TANK 2 * | TIME | CHAMBER 1\SOFTS\TIME | CHAMBER 1\SOFTS
IGNORE |  |  | CA16B* | TANK 3 * | PH_EC | CHAMBER 1\SOFTS\TIddE | CHAMBER 1\SOFTS
IGNORE |  |  | CA16* | TANK 4* | BOOLME | CHAMBER 1\SOFTS\TddIME | CHAMBER 1\SOFTS
MAP | [5 empty] | CHAMBER 1 | CHAMBER 1
MAP | [5 empty] | CHAMBER 2 | CHAMBER 2
MAP | [5 empty] | CHAMBER 3 | CHAMBER 3
MAP | [5 empty] | CHAMBER 4 | CHAMBER 4
MAP | [5 empty] | CHAMBER 1\SOFTS | CHAMBER 1\SOFTS
MAP | [5 empty] | CHAMBER 2\SOFTS | CHAMBER 2\SOFTS
MAP | [5 empty] | CHAMBER 3\SOFTS | CHAMBER 3\SOFTS
MAP | [5 empty] | CHAMBER 4\SOFTS | CHAMBER 4\SOFTS
MAP | [5 empty] | GLOBALS | GLOBALS
MAP | [5 empty] | REMOTE IO\RIO_1 | REMOTE IO\RIO_1
MAP | [5 empty] | REMOTE IO\RIO_2 | REMOTE IO\RIO_2
MAP | [5 empty] | REMOTE IO\RIO_3 | REMOTE IO\RIO_3
MAP | [5 empty] | REMOTE IO\RIO_4 | REMOTE IO\RIO_4
MAP | [5 empty] | REMOTE IO\RIO_5 | REMOTE IO\RIO_5
MAP | [5 empty] | REMOTE IO\RIO_6 | REMOTE IO\RIO_6
MAP | [5 empty] | REMOTE IO\RIO_7 | REMOTE IO\RIO_7
MAP | [5 empty] | REMOTE IO\COMMUNICATIONS | REMOTE IO\COMMUNICATIONS
MAP | [5 empty] | DRY CURE DOSING | DRY CURE DOSING
MAP | [5 empty] | MAINCTRL IO | MAINCTRL IO
MAP | [5 empty] | CHAMBER 1\SOFTS\TIME | CHAMBER 1\SOFTS
MAP | [5 empty] | C11 | C11
MAP | [5 empty] | C11\AIR | C11\AIR
MAP | [5 empty] | C11\AIR\SPARES | C11\AIR\SPARES
MAP | [5 empty] | C11\ANALYZER | C11\ANALYZER
MAP | [5 empty] | C11\COMMUNICATIONS | C11\COMMUNICATIONS
MAP | [5 empty] | C11\DOSING | C11\DOSING
MAP | [5 empty] | C11\DOSING\SPARES | C11\DOSING\SPARES
MAP | [5 empty] | C11\HOST WRITES | C11\HOST WRITES
MAP | [5 empty] | C11\PRIMARY | C11\PRIMARY
MAP | [5 empty] | C11\PRIMARY\SPARES | C11\PRIMARY\SPARES
MAP | [5 empty] | C11\SECONDARY | C11\SECONDARY
MAP | [5 empty] | C11\SECONDARY\SPARES | C11\SECONDARY\SPARES
MAP | [5 empty] | C11\VFD LAG | C11\VFD LAG
MAP | [5 empty] | C11\VFD LEAD | C11\VFD LEAD
MAP | [5 empty] | C12\LOCAL | C12\LOCAL
MAP | [5 empty] | C12\READS | C12\READS
MAP | [5 empty] | C12\WRITES | C12\WRITES

## MEMORY_MAP
MEM_ID | MEM_TYPE | START_ADDRESS | LENGTH | TS_FORMAT | TS_SIGNED | COMMENT
CHAMBER 1 | BOOL | 1030 | 32 | DIGITAL | FALSE | PHYSICAL I/O
CHAMBER 1 | FLOAT | 1000 | 24 | FLOAT | TRUE | PHYSICAL I/O
CHAMBER 1 | UINT16 | 1080 | 14 | 16BITS | FALSE | PHYSICAL I/O
CHAMBER 1\SOFTS | BOOL | 1500 | 60 | DIGITAL | FALSE | SOFT I/O
CHAMBER 1\SOFTS | FLOAT | 1600 | 30 | FLOAT | TRUE | SOFT I/O
CHAMBER 1\SOFTS | UINT16 | 1660 | 19 | 16BITS | FALSE | SOFT I/O
DRY CURE DOSING | BOOL | 5006 | 13 | DIGITAL | FALSE | Generated on: 16/04/2020 16:06:09
DRY CURE DOSING | FLOAT | 5000 | 11 | FLOAT | TRUE | Generated on: 16/04/2020 16:06:09
GLOBALS | UINT16 | 210 | 29 | 16BITS | FALSE | Generated on: 16/04/2020 16:06:09
GLOBALS | BOOL | 201 | 23 | DIGITAL | FALSE | Generated on: 16/04/2020 16:06:09
MAINCTRL IO | BOOL | 69 | 43 | DIGITAL | FALSE | Generated on: 16/04/2020 16:06:09
MAINCTRL IO | FLOAT | 128 | 8 | FLOAT | TRUE | Generated on: 16/04/2020 16:06:09
REMOTE IO\COMMUNICATIONS | UINT16 | 10001 | 59 | 16BITS | FALSE | Generated on: 16/04/2020 16:06:09
REMOTE IO\COMMUNICATIONS | BOOL | 10000 | 59 | DIGITAL | FALSE | Generated on: 16/04/2020 16:06:09
REMOTE IO\RIO_1 | UINT16 | 10150 | 3 | 16BITS | FALSE | Generated on: 16/04/2020 16:06:09
REMOTE IO\RIO_1 | BOOL | 10100 | 54 | DIGITAL | FALSE | Generated on: 16/04/2020 16:06:09
REMOTE IO\RIO_1 | FLOAT | 10132 | 8 | FLOAT | TRUE | Generated on: 16/04/2020 16:06:09
CHAMBER 4 | BOOL | 4030 | 28 | DIGITAL | FALSE | Generated on: 16/04/2020 16:06:09
CHAMBER 4 | FLOAT | 4000 | 14 | FLOAT | TRUE | Generated on: 16/04/2020 16:06:09
CHAMBER 4\SOFTS | BOOL | 4500 | 52 | DIGITAL | FALSE | Generated on: 16/04/2020 16:06:09
CHAMBER 4\SOFTS | FLOAT | 4600 | 19 | FLOAT | TRUE | Generated on: 16/04/2020 16:06:09
REMOTE IO\RIO_2 | UINT16 | 11150 | 3 | 16BITS | FALSE | Generated on: 16/04/2020 16:06:09
REMOTE IO\RIO_2 | BOOL | 11100 | 54 | DIGITAL | FALSE | Generated on: 16/04/2020 16:06:09
REMOTE IO\RIO_2 | FLOAT | 11132 | 8 | FLOAT | TRUE | Generated on: 16/04/2020 16:06:09

## TEMPLATE
TEMPLATE | SUFFIX | DESCRIPTION | TYPE | INITIAL_VALUE | SCRIPT_VALUE
COMS | _CC | COMMUNICATION CYCLE COUNT | UINT16 | -9999 | -9999
COMS | _ST | COMMUNICATION STATUS | UINT16 | -9999 | -9999
COMS | _CT | COMMUNICATION TRIGGER | BOOL | -9999 | -9999
COMS | _CE | COMMUNICATION ERROR | BOOL | -9999 | -9999
HOA | HOA | HOA STATE (H=1,A=2,O=0) | UINT16 | -9999 | -9999
HOA | _H | HAND | BOOL | -9999 | -9999
HOA | _O | OFF | BOOL | -9999 | -9999
HOA | _A | AUTO | BOOL | -9999 | -9999
OCA | _OCA | OCA STATE (C=1,A=2,O=0) | UINT16 | -9999 | -9999
OCA | _O | OPEN | BOOL | -9999 | -9999
OCA | _C | CLOSED | BOOL | -9999 | -9999
OCA | _A | AUTO | BOOL | -9999 | -9999
SPF | _SP | SETPOINT | FLOAT | -9999 | -9999
SP | _SP | SETPOINT | UINT16 | -9999 | -9999
TIME | _OFAP | OFF AM/PM (1=PM) | UINT16 | -9999 | 1
TIME | _OFH | OFF HR | UINT16 | -9999 | 16
TIME | _OFM | OFF MIN | UINT16 | -9999 | 16
TIME | _ONAP | ON AM/PM (1=PM) | UINT16 | -9999 | 0
TIME | _ONH | ON HR | UINT16 | -9999 | 7
TIME | _ONM | ON MIN | UINT16 | -9999 | 0
TIME | _ON_EVT | ON EVENT | BOOL | -9999 | -9999
TIME | _SR_EVT | SUNRISE EVENT | BOOL | -9999 | -9999
TIME | _SS_EVT | SUNSET EVENT | BOOL | -9999 | -9999
PERM | _PERM | PERMISSIVE | BOOL | -9999 | -9999
ON_OFF_CTRL | _MIN_PV | CONTROLLER MIN PROCESS VALUE | BOOL | -9999 | -9999
ON_OFF_CTRL | _MAX_PV | CONTROLLER MAX PROCESS VALUE | BOOL | -9999 | -9999
ON_OFF_CTRL | _SP | CONTROLLER SETPOINT | FLOAT | -9999 | 50
GLOBALS | _ACK_ALMS | ACKNOWLEDGE ALARM FROM HMI | BOOL | -9999 | -9999
GLOBALS | _SYS_INIT | SET TO 1 WHEN SYSTEM INITIALIZED | BOOL | -9999 | -9999
GLOBALS | _POLL_TRIG | POLL TRIGGER | BOOL | -9999 | -9999
GLOBALS | _ALWAYS_OFF | ALWAYS OFF | BOOL | 0 | -9999
GLOBALS | _ALWAYS_ON | ALWAYS ON | BOOL | 1 | -9999
TIMER | _ST | TIMER STATUS | BOOL | -9999 | -9999
TIMER | _VAL | TIMER VALUE | UINT32 | -9999 | -9999
TIMER | _PR | TIMER PRESET | UINT32 | -9999 | -9999
PH_EC | _PH | PH | FLOAT | -9999 | -9999
PH_EC | _EC | EC (ppm) | FLOAT | -9999 | -9999
RM2_530 | _DI0 | DIGITAL INPUT 1 | BOOL | -9999 | -9999
RM2_530 | _DI1 | DIGITAL INPUT 2 | BOOL | -9999 | -9999
RM2_530 | _DI2 | DIGITAL INPUT 3 | BOOL | -9999 | -9999
RM2_530 | _DI3 | DIGITAL INPUT 4 | BOOL | -9999 | -9999
RM2_530 | _DI4 | DIGITAL INPUT 5 | BOOL | -9999 | -9999
RM2_530 | _DI5 | DIGITAL INPUT 6 | BOOL | -9999 | -9999
RM2_530 | _DI6 | DIGITAL INPUT 7 | BOOL | -9999 | -9999
RM2_530 | _DI7 | DIGITAL INPUT 8 | BOOL | -9999 | -9999
RM2_530 | _DI8 | DIGITAL INPUT 9 | BOOL | -9999 | -9999
RM2_530 | _DI9 | DIGITAL INPUT 10 | BOOL | -9999 | -9999
RM2_530 | _DI10 | DIGITAL INPUT 11 | BOOL | -9999 | -9999
RM2_530 | _DI11 | DIGITAL INPUT 12 | BOOL | -9999 | -9999
RM2_530 | _DI12 | DIGITAL INPUT 13 | BOOL | -9999 | -9999
RM2_530 | _DI13 | DIGITAL INPUT 14 | BOOL | -9999 | -9999
RM2_530 | _DI14 | DIGITAL INPUT 15 | BOOL | -9999 | -9999
RM2_530 | _DI15 | DIGITAL INPUT 16 | BOOL | -9999 | -9999
RM2_530 | _DO0 | DIGITAL OUTPUT 1 | BOOL | -9999 | -9999
RM2_530 | _DO1 | DIGITAL OUTPUT 2 | BOOL | -9999 | -9999
RM2_530 | _DO2 | DIGITAL OUTPUT 3 | BOOL | -9999 | -9999
RM2_530 | _DO3 | DIGITAL OUTPUT 4 | BOOL | -9999 | -9999
RM2_530 | _DO4 | DIGITAL OUTPUT 5 | BOOL | -9999 | -9999
RM2_530 | _DO5 | DIGITAL OUTPUT 6 | BOOL | -9999 | -9999
RM2_530 | _DO6 | DIGITAL OUTPUT 7 | BOOL | -9999 | -9999
RM2_530 | _DO7 | DIGITAL OUTPUT 8 | BOOL | -9999 | -9999
RM2_530 | _DO8 | DIGITAL OUTPUT 9 | BOOL | -9999 | -9999
RM2_530 | _DO9 | DIGITAL OUTPUT 10 | BOOL | -9999 | -9999
RM2_530 | _DO10 | DIGITAL OUTPUT 11 | BOOL | -9999 | -9999
RM2_530 | _DO11 | DIGITAL OUTPUT 12 | BOOL | -9999 | -9999
RM2_530 | _DO12 | DIGITAL OUTPUT 13 | BOOL | -9999 | -9999
RM2_530 | _DO13 | DIGITAL OUTPUT 14 | BOOL | -9999 | -9999
RM2_530 | _DO14 | DIGITAL OUTPUT 15 | BOOL | -9999 | -9999
RM2_530 | _DO15 | DIGITAL OUTPUT 16 | BOOL | -9999 | -9999
RM2_530 | _AIC0 | DIGITAL COUNTER 1 | UINT32 | -9999 | -9999
RM2_530 | _AIC1 | DIGITAL COUNTER 2 | UINT32 | -9999 | -9999
RM2_530 | _AIC2 | DIGITAL COUNTER 3 | UINT32 | -9999 | -9999
RM2_530 | _AI0 | ANALOG INPUT 1 | FLOAT | -9999 | -9999
RM2_530 | _AI1 | ANALOG INPUT 2 | FLOAT | -9999 | -9999
RM2_530 | _AI2 | ANALOG INPUT 3 | FLOAT | -9999 | -9999
RM2_530 | _AI3 | ANALOG INPUT 4 | FLOAT | -9999 | -9999
RM2_530 | _AI4 | ANALOG INPUT 5 | FLOAT | -9999 | -9999
RM2_530 | _AI5 | ANALOG INPUT 6 | FLOAT | -9999 | -9999
RM2_530 | _AI6 | ANALOG INPUT 7 | FLOAT | -9999 | -9999
RM2_530 | _AI7 | ANALOG INPUT 8 | FLOAT | -9999 | -9999
RM2_530 | _AO0 | ANALOG OUTPUT 1 | FLOAT | -9999 | -9999
RM2_530 | _AO1 | ANALOG OUTPUT 2 | FLOAT | -9999 | -9999
RM2_532 | _DI0 | DIGITAL INPUT 1 | BOOL | -9999 | -9999
RM2_532 | _DI1 | DIGITAL INPUT 2 | BOOL | -9999 | -9999
RM2_532 | _DI2 | DIGITAL INPUT 3 | BOOL | -9999 | -9999
RM2_532 | _DI3 | DIGITAL INPUT 4 | BOOL | -9999 | -9999
RM2_532 | _DI4 | DIGITAL INPUT 5 | BOOL | -9999 | -9999
RM2_532 | _DI5 | DIGITAL INPUT 6 | BOOL | -9999 | -9999
RM2_532 | _DI6 | DIGITAL INPUT 7 | BOOL | -9999 | -9999
RM2_532 | _DI7 | DIGITAL INPUT 8 | BOOL | -9999 | -9999
RM2_532 | _DI8 | DIGITAL INPUT 9 | BOOL | -9999 | -9999
RM2_532 | _DI9 | DIGITAL INPUT 10 | BOOL | -9999 | -9999
RM2_532 | _DI10 | DIGITAL INPUT 11 | BOOL | -9999 | -9999
RM2_532 | _DI11 | DIGITAL INPUT 12 | BOOL | -9999 | -9999
RM2_532 | _DI12 | DIGITAL INPUT 13 | BOOL | -9999 | -9999
RM2_532 | _DI13 | DIGITAL INPUT 14 | BOOL | -9999 | -9999
RM2_532 | _DI14 | DIGITAL INPUT 15 | BOOL | -9999 | -9999
RM2_532 | _DI15 | DIGITAL INPUT 16 | BOOL | -9999 | -9999
RM2_532 | _DO0 | DIGITAL OUTPUT 1 | BOOL | -9999 | -9999
RM2_532 | _DO1 | DIGITAL OUTPUT 2 | BOOL | -9999 | -9999
RM2_532 | _DO2 | DIGITAL OUTPUT 3 | BOOL | -9999 | -9999
RM2_532 | _DO3 | DIGITAL OUTPUT 4 | BOOL | -9999 | -9999
RM2_532 | _DO4 | DIGITAL OUTPUT 5 | BOOL | -9999 | -9999
RM2_532 | _DO5 | DIGITAL OUTPUT 6 | BOOL | -9999 | -9999
RM2_532 | _DO6 | DIGITAL OUTPUT 7 | BOOL | -9999 | -9999
RM2_532 | _DO7 | DIGITAL OUTPUT 8 | BOOL | -9999 | -9999
RM2_532 | _DO8 | DIGITAL OUTPUT 9 | BOOL | -9999 | -9999
RM2_532 | _DO9 | DIGITAL OUTPUT 10 | BOOL | -9999 | -9999
RM2_532 | _DO10 | DIGITAL OUTPUT 11 | BOOL | -9999 | -9999
RM2_532 | _DO11 | DIGITAL OUTPUT 12 | BOOL | -9999 | -9999
RM2_532 | _DO12 | DIGITAL OUTPUT 13 | BOOL | -9999 | -9999
RM2_532 | _DO13 | DIGITAL OUTPUT 14 | BOOL | -9999 | -9999
RM2_532 | _DO14 | DIGITAL OUTPUT 15 | BOOL | -9999 | -9999
RM2_532 | _DO15 | DIGITAL OUTPUT 16 | BOOL | -9999 | -9999
RM2_532 | _AIC0 | DIGITAL COUNTER 1 | UINT32 | -9999 | -9999
RM2_532 | _AIC1 | DIGITAL COUNTER 2 | UINT32 | -9999 | -9999
RM2_532 | _AIC2 | DIGITAL COUNTER 3 | UINT32 | -9999 | -9999
RM2_532 | _AI0 | ANALOG INPUT 1 | FLOAT | -9999 | -9999
RM2_532 | _AI1 | ANALOG INPUT 2 | FLOAT | -9999 | -9999
RM2_532 | _AI2 | ANALOG INPUT 3 | FLOAT | -9999 | -9999
RM2_532 | _AI3 | ANALOG INPUT 4 | FLOAT | -9999 | -9999
RM2_532 | _AI4 | ANALOG INPUT 5 | FLOAT | -9999 | -9999
RM2_532 | _AI5 | ANALOG INPUT 6 | FLOAT | -9999 | -9999
RM2_532 | _AI6 | ANALOG INPUT 7 | FLOAT | -9999 | -9999
RM2_532 | _AI7 | ANALOG INPUT 8 | FLOAT | -9999 | -9999
RM2_532 | _AO0 | ANALOG OUTPUT 1 | FLOAT | -9999 | -9999
RM2_532 | _AO1 | ANALOG OUTPUT 2 | FLOAT | -9999 | -9999
BOOLME | _B | BOOL TEST | BOOL | -9999 | -9999
BOOLME | _UINT32 | UINT32 Test | UINT32 | -9999 | -9999

## REMOTE_DEVICES
DEVICE_NAME | COM_PORT | RTU_ADDRESS | IP_ADDRESS | TRIGGER_NAME | TYPE | ROOT_TAG
C11_PH_AI | COM3 | 21 | 192.168.1.21 | C11_PH_CT | VAISALA_PH_AI | C11_PH
C11_EC | COM3 | 22 | 192.168.1.21 | C11_EC_CT | VAISALA_EC_AI | C11_EC
A12345678901234567A | COM3 | 11 | 192.168.1.22 | C11_PRIMARY_CT | RM_530_DI | RM2_1_DI0
A12345678901234567A | COM3 | 11 | 192.168.1.22 | C11_PRIMARY_CT | RM_530_DO | RM2_1_DO0
A12345678901234567A | COM3 | 11 | 192.168.1.22 | C11_PRIMARY_CT | RM_530_CNT | RM2_1_AIC0
A12345678901234567A | COM3 | 11 | 192.168.1.22 | C11_PRIMARY_CT | RM_530_AI | RM2_1_AI0

## REMOTE_TAGS
DEVICE | MODBUS_ADDRESS | LENGTH | READ
VAISALA_PH_AI | 3 | 1 | TRUE
VAISALA_EC_AI | 3 | 1 | TRUE
RM_530_DI | 20000 | 16 | TRUE
RM_530_DO | 20100 | 16 | FALSE
RM_530_CNT | 22000 | 3 | TRUE
RM_530_AI | 21000 | 8 | TRUE

## ACRONYMS
ACRONYM | DESCRIPTION
A | AUTO
ALM | ALARM
AVG | AVERAGE
CLS | CLOSED
CC | CYCLE COUNT
CE | COMMUNCATION ERROR
CT | COMMUNCATION TRIGGER
EN | ENABBLE
EVT | EVENT
GBL | GLOBAL
H | HAND
HDB | HIGH DEADBAND
HOA | HOA STATE (H=1,A=2,O=0)
LDB | LOW DEADBAND
OF | OFF
OPN | OPEN
OCA | OCA STATE (C=1,A=2,O=0)
OFAP | OFF AM/PM (1=PM)
OFH | OFF HR
OFM | OFF MIN
ONAP | ON AM/PM (1=PM)
ONEVT | ON EVENT
ONH | ON HR
ONM | ON MIN
PERM | PERMISSIVE
PR | PRESET
SP | SETPOINT
SREVT | SUNRISE EVENT
SSEVT | SUNSET EVENT
ST | STATUS

## PATTERNS
TAG | REQUIREMENT | REPLACE PATTERN | OCCURRENCE | EXAMPLE RESULT
HS_150 | Find and replace first digit | \d | 1 | HS_250
C11_HS_150 | Find and replace first two digits | \d{2} | 1 | C22_HS_150
C12_HS_150 | Find an replace third digit | \d | 3 | C12_HS_250

## MEMORY_MAP_CONFLICT
MEM_ID | MEM_TYPE | START_ADDRESS | LENGTH | TS_FORMAT | TS_SIGNED | GROUP_NUM | COMMENT
CHAMBER 1 | BOOL | 1030 | 28 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 1 | FLOAT | 1000 | 14 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 1\SOFTS | UINT16 | 1700 | 138 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 1\SOFTS | BOOL | 1500 | 52 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 1\SOFTS | FLOAT | 234 | 803 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 2 | BOOL | 2030 | 27 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 2 | FLOAT | 2000 | 15 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 2\SOFTS | UINT16 | 2700 | 129 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 2\SOFTS | BOOL | 2500 | 52 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 2\SOFTS | FLOAT | 2600 | 120 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 3 | BOOL | 3030 | 27 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 3 | FLOAT | 3000 | 15 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 3\SOFTS | UINT16 | 3700 | 129 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 3\SOFTS | BOOL | 3500 | 52 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 3\SOFTS | FLOAT | 3600 | 120 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 4 | BOOL | 4030 | 27 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 4 | FLOAT | 4000 | 15 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 4\SOFTS | UINT16 | 4700 | 129 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 4\SOFTS | BOOL | 4500 | 52 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
CHAMBER 4\SOFTS | FLOAT | 4600 | 120 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
DRY CURE DOSING | BOOL | 5006 | 13 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
DRY CURE DOSING | FLOAT | 5000 | 11 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
GLOBALS | UINT16 | 210 | 1759 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
GLOBALS | INT16 | 224 | 8 | 16BITS | TRUE | 0 | Generated on: 16/04/2020 13:23:25
GLOBALS | BOOL | 201 | 23 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
GLOBALS | FLOAT | 212 | 13 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
MAINCTRL IO | BOOL | 69 | 43 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
MAINCTRL IO | FLOAT | 128 | 8 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\COMMUNICATIONS | UINT16 | 10001 | 59 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\COMMUNICATIONS | BOOL | 10000 | 59 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_1 | UINT16 | 10150 | 3 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_1 | BOOL | 10100 | 54 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_1 | FLOAT | 10132 | 8 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_2 | UINT16 | 10250 | 3 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_2 | BOOL | 10200 | 54 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_2 | FLOAT | 10232 | 8 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_3 | UINT16 | 10350 | 3 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_3 | BOOL | 10300 | 54 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_3 | FLOAT | 10332 | 8 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_4 | UINT16 | 10450 | 3 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_4 | BOOL | 10400 | 54 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_4 | FLOAT | 10432 | 8 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_5 | UINT16 | 10550 | 3 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_5 | BOOL | 10500 | 54 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_5 | FLOAT | 10532 | 8 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_6 | UINT16 | 10650 | 3 | 16BITS | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_6 | BOOL | 10600 | 54 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_6 | FLOAT | 10632 | 8 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_7 | BOOL | 10700 | 32 | DIGITAL | FALSE | 0 | Generated on: 16/04/2020 13:23:25
REMOTE IO\RIO_7 | FLOAT | 10732 | 8 | FLOAT | TRUE | 0 | Generated on: 16/04/2020 13:23:25